[To be added to architect’s agreement]

[For high population/growth school districts]

POST-CONSTRUCTION STORMWATER DESIGN STANDARDS:

A.	Basic Requirements.

As part of the basic Services provided pursuant to this Agreement, the Architect shall include in the design prepared for the Project as appropriate, the post-construction best management practices (“BMPs”) necessary to ensure that the District and the contractor(s) comply with the State Water Resources Control Board (State Water Board)  stormwater regulations applicable to the Project, including, but not limited to Water Quality Order No. 2003-0005-DWQ  National Pollutant Discharge Elimination System (NPDES) General Permit No. CAS000004 (“Permit”).  The Architect shall include all costs associated with incorporating such BMPs into the design of the Project at no additional cost to the District.

B.	Incorporation of Design Standards.

In order to ensure such compliance, the Architect shall incorporate the following four Design Standards as goals for the design of the Project:

1.	Conserve Natural Areas:  Conservation of existing natural areas on the Project site to the maximum extent possible.

2.	Volume and Flow Control:  Incorporation of Structural and/or Treatment BMPs to manage the volume and flow of stormwater runoff from the Project site.

3.	Minimization of Pollutants of Concern:  Use of BMPs to reduce the discharge of pollutants from the Project site as described in Section C below.

4.	Provide Ongoing BMP Maintenance:  Incorporate and describe maintenance required for BMPs in Project plans so that District can ensure that the BMPs and stormwater system are performing as designed.

C.	Specific Requirements for BMPs.

The BMPs the Architect incorporates as part of the Design Standards described above, shall be designed to minimize pollutants of concern and shall focus on mitigating the impacts caused by impervious surfaces by implementing BMPs that stress: (i) low impact design; (ii) source controls; and treatment controls.  Because the District is a high growth/population District pursuant to the Permit described above the District is subject to certain additional BMP requirements pursuant to the Permit.  Accordingly, the Architect shall ensure that the design of the Project complies with the requirements which are set forth in Attachment 4 to the Permit, as are applicable to the Project and consistent with the District's Storm Water Management Plan.